## Table_1
Planning Submittal Form (to be submitted with the Engineering Feasibility Report)
Entity Name:
Project Name: |  | Project Number:
Contract Name: |  | Construction Contract CID:
Planning Submittal Type: Initial Review: |  | Initial Review:
Response Update: |  | Initial Review:
Contact Name: |  | Phone Number:
E-mail:
Guidance Documents available online at http://www.twdb.texas.gov/financial/instructions/index.asp |  | Y |  | CWSRF NEQ |  | DWSRF EQ |  | DWSRF NEQ |  | SWIFT |  | EDAP |  | All Other State Funded Programs
Guidance for the Preparation of Wastewater Project Engineering Feasibility Reports (TWDB-0556) |  |  |  | Y | [5 empty] | Y |  | Y |  | Y
Guidance for the Preparation of Drinking Water Project Engineering Feasibility Reports (TWDB-0555) |  | Y |  |  |  | Y |  | Y |  | Y |  | Y |  | Y
1 |  | Applicable Programs | [12 empty] | Location (Section, page, etc.)
| A Statement on the Following is to be Included in the General Description Section: | CWSRF EQ | CWSRF NEQ |  | DWSRF EQ |  | DWSRF NEQ |  | SWIFT |  | EDAP |  | All Other State Funded Programs
1.01 | Sponsoring political subdivision, address, telephone number and legal owner. | Y | Y |  | Y |  | Y |  | Y |  | Y |  | Y
1.02 | Consulting engineer’s name, address, and telephone number. | Y | Y |  | Y |  | Y |  | Y |  | Y |  | Y
1.03 | Identify the Funding Program(s) | Y | Y |  | Y |  | Y |  | Y |  | Y |  | Y
1.04 | Identify entities to be served and current and future population. | Y | Y |  | Y |  | Y |  | Y |  | Y |  | Y
1.05 | Provide a general description of the existing system. | Y | Y |  | Y |  | Y |  | Y |  | Y |  | Y
1.06 | Description of the Problems and Needs | Y | Y |  | Y |  | Y |  | Y |  | Y |  | Y
1.07 | Discussion of EPA or TCEQ Enforcement Actions | Y | Y |  | Y |  | Y |  | Y |  | Y |  | Y
1.08 | Discussion of Services Areas or Entities Being Joined into the Project | Y | Y |  | Y |  | Y |  | Y |  | Y |  | Y
1.09 | Description of the Proposed Project | Y | Y |  | Y |  | Y |  | Y |  | Y |  | Y
1.1 | Detail on How the Project Will Remedy the Issues Identified in the Intended Use Plan | Y | Y |  | Y |  | Y
1.11 | Discuss pilot study (if applicable) | Y | Y |  | Y |  | Y |  | Y |  | Y |  | Y
1.12 | Adequate discussion of the status of any required permits, approvals and/or contracts | Y | Y |  | Y |  | Y |  | Y |  | Y |  | Y
2 |  | Applicable Programs | [12 empty] | Location (Section, page, etc.)
| A Statement on the Following is to be Included in the Alternatives Section: | CWSRF EQ | CWSRF NEQ |  | DWSRF EQ |  | DWSRF NEQ |  | SWIFT |  | EDAP |  | All Other State Funded Programs
2.01 | Description of Alternatives Considered | Y | Y |  | Y |  | Y |  | Y |  | Y |  | Y
2.02 | Cost and Effectiveness Analysis | Y | Y |  | Y |  | Y |  | Y |  | Y |  | Y
2.03 | Innovative and Alternative system evaluation | Y | Y | [7 empty] | Y |  | Y
3 |  | Applicable Programs | [12 empty] | Location (Section, page, etc.)
| A Statement on the Following is to be Included in the Project Specific Requirements Section: | CWSRF EQ |  | CWSRF NEQ |  | DWSRF EQ |  | DWSRF NEQ |  | SWIFT |  | EDAP |  | All Other State Funded Programs
3.01 | For Proposed Collection System: | Y |  | Y | [7 empty] | Y |  | Y
3.01.a | - Present area served and future areas to be served | Y |  | Y | [7 empty] | Y |  | Y
3.01.b | - General description of existing system | Y |  | Y | [7 empty] | Y |  | Y
3.01.c | - Terrain data in sufficient detail to establish general topographical features of present and future areas to be served | Y |  | Y | [7 empty] | Y |  | Y
3.01.d | - Existing and/or proposed lift stations | Y |  | Y | [7 empty] | Y |  | Y
3.01.e | - Effect of proposed system expansion on existing system capacity | Y |  | Y | [7 empty] | Y |  | Y
3.01.f | - Amount of infiltration/inflow existing and anticipated, and how it is to be addressed in the collection system design | Y |  | Y | [7 empty] | Y |  | Y
3.02 | For on-site systems: | Y |  | Y | [7 empty] | Y |  | Y
3.02.a | - Demonstrate compliance with On-Site Sewage Facilities Standards 30 TAC 285. | Y |  | Y | [7 empty] | Y |  | Y
3.03 | For Proposed Treatment Plant: | Y |  | Y | [7 empty] | Y |  | Y
3.03.a | - Quantity and quality of existing sewage influent and changes in the characteristics anticipated in the future | Y |  | Y | [7 empty] | Y |  | Y
3.03.b | - Provide the names of industries contributing any significant wastes, types of industry (standard industry codes), volume of wastes, characteristics and strength of wastes, population equivalent, and other pertinent information. | Y |  | Y | [7 empty] | Y |  | Y
3.03.c | - Design and peak flow rates | Y |  | Y | [7 empty] | Y |  | Y
3.03.d | - Type of treatment plant proposed and effluent quality expected. | Y |  | Y | [7 empty] | Y |  | Y
3.03.e | - Describe the existing permit and parameters | Y |  | Y | [7 empty] | Y |  | Y
3.03.f | - Discuss the proposed permit status and parameters | Y |  | Y | [7 empty] | Y |  | Y
3.03.g | - Type of units proposed and their capacities | Y |  | Y | [7 empty] | Y |  | Y
3.03.h | - Type of treatment plant proposed and effluent quality expected. | Y |  | Y | [7 empty] | Y |  | Y
3.03.i | - Treatment plant site information. Including location map identifying buffer zones and flood hazards. | Y |  | Y | [7 empty] | Y |  | Y
3.03.j | - Sludge Management including quantity, quality and sludge treatment requirements, storage requirements, transportation, land use and land availability. | Y |  | Y | [7 empty] | Y |  | Y
3.05 | Describe control of bypassing units or equipment which are needed to provide standby capability, provide flexibility of operation, or prevent discharges of partially treated or untreated wastewater during construction. | Y |  | Y | [7 empty] | Y |  | Y
3.06 | New Sourcesd escribe the source (or sources), with quantity and quality of water available. |  |  |  |  | Y |  | Y |  | Y |  | Y |  | Y
3.07 | Site Map including layout of proposed facilities, existing infrastructure, floodplain location, and required buffers and easements. |  |  |  |  | Y |  | Y |  | Y |  | Y |  | Y
3.08 | Discuss the type of treatment, equipment, and capacity of facilities. |  |  |  |  | Y |  | Y |  | Y |  | Y |  | Y
3.09 | Design data including pumping capacities, water storage and flexibility of system operation under normal and emergency conditions. |  |  |  |  | Y |  | Y |  | Y |  | Y |  | Y
3.1 | Adequacy of the facilities regarding delivery capacity and pressure throughout the system. |  |  |  |  | Y |  | Y |  | Y |  | Y |  | Y
3.11 | Effect of the proposed project on the operation and maintenance budget for the owner. |  |  |  |  | Y |  | Y |  | Y |  | Y |  | Y
3.12 | For Purchase of Facilities: |  |  |  |  | Y |  | Y |  | Y |  | Y |  | Y
3.12.a | Inventory and current valuation of facilities to be purchased. |  |  |  |  | Y |  | Y |  | Y |  | Y |  | Y
3.12.b | General description of the capacities and capabilities of the facilities. |  |  |  |  | Y |  | Y |  | Y |  | Y |  | Y
3.12.c | Historical operating and maintenance records. |  |  |  |  | Y |  | Y |  | Y |  | Y |  | Y
3.12.d | Information on the 100-year floodplain and development in the project area. |  |  |  |  | Y |  | Y |  | Y |  | Y |  | Y
3.12.e | Demonstration that facilities were constructed in a manner consistent with all applicable environmental laws and regulations. |  |  |  |  | Y |  | Y |  | Y |  | Y |  | Y
3.13 | For Water Supply Reservoir: | [8 empty] | Y |  |  |  | Y
3.13.a | - Area map showing estimated acreage to be acquired and proposed take-line. | [8 empty] | Y |  |  |  | Y
3.13.a | - Project delineated on a topographic quad sheet with normal, 100-year and maximum probable design water surfaces indicated. | [8 empty] | Y |  |  |  | Y
3.13.a | - Proposed conservation, sediment, flood control and other storage capacities with corresponding areas and elevations. | [8 empty] | Y |  |  |  | Y
3.13.a | - Yield of the project based on efficiency, economics, environmental concerns, 10- to 30-year needs, and expected firm annual yield as proposed. | [8 empty] | Y |  |  |  | Y
3.13.a | - Expected quality of water to be impounded. | [8 empty] | Y |  |  |  | Y
3.13.a | - Existing water rights and purposes of use affected by the project. | [8 empty] | Y |  |  |  | Y
3.13.a | - Estimated total land acquisition cost including provisions for projected appraisal, title search, legal and other associated costs. | [8 empty] | Y |  |  |  | Y
3.13.a | - Description of all improvements (including roads, cemeteries, railroads, and public utilities) to be relocated or protected in the project area. | [8 empty] | Y |  |  |  | Y
3.13.a | - Letters, agreements, or other evidence from owners and/or responsible entities on improvements to be relocated or protected stating their position on acceptable means for such relocation or protection and the estimated cost. | [8 empty] | Y |  |  |  | Y
3.13.a | - Proposed recreational development and management plan, including anticipated buildup in demand, initial facilities to be provided which are and proposed to be dedicated to recreational use. | [8 empty] | Y |  |  |  | Y
3.13.a | - Geologic evaluation of the site accompanied by drilling logs showing sufficient details to indicate that a suitable development site has been selected | [8 empty] | Y |  |  |  | Y
3.14 | Alternative Methods for Delivery | Y |  | Y |  | Y |  | Y |  | Y |  | Y |  | Y
3.15 | American Iron & Steel or U.S. Iron & Steel Requirements | Y |  | Y |  | Y |  | Y
3.16 | Detailed Project Budget | Y |  | Y |  | Y |  | Y |  | Y |  | Y |  | Y
3.17 | Project Schedule | Y |  | Y |  | Y |  | Y |  | Y |  | Y |  | Y
3.18 | Environmental Document | Y |  | Y |  | Y |  | Y |  | Y |  | Y |  | Y
9 | Exhibits That Are to be Included: | [13 empty] | Location (Section, page, etc.)
9.01 | Location and Vicinity Map | Y |  | Y |  | Y |  | Y |  | Y |  | Y |  | Y
9.02 | Service Area Map | Y |  | Y |  | Y |  | Y |  | Y |  | Y |  | Y
9.03 | Existing Site Plan | Y |  | Y |  | Y |  | Y |  | Y |  | Y |  | Y
9.04 | Proposed Facilities | Y |  | Y |  | Y |  | Y |  | Y |  | Y |  | Y
9.05 | FEMA Firm Panel (if applicable) | Y |  | Y |  | Y |  | Y |  | Y |  | Y |  | Y
10 | [14 empty] | Location (Section, page, etc.)
| To Be Included in the Appendix: | CWSRF EQ |  | CWSRF NEQ |  | DWSRF EQ |  | DWSRF NEQ |  | SWIFT |  | EDAP |  | All Other State Funded Programs
10.01 | Opinion on Probable Construction Cost | Y |  | Y |  | Y |  | Y |  | Y |  | Y |  | Y
10.02 | Project Budget (TWDB-1201) | Y |  | Y |  | Y |  | Y |  | Y |  | Y |  | Y
10.03 | Project Schedule | Y |  | Y |  | Y |  | Y |  | Y |  | Y |  | Y
10.04 | Design Calculations | Y |  | Y |  | Y |  | Y |  | Y |  | Y |  | Y
10.05 | Cost and Effective Certification (TWDB-1107) | Y |  | Y
11 | For projects with new water wells submit the following separately from the EFR:
11.01 | Groundwater Affidavit (TWDB-208B) |  |  |  |  | Y |  | Y |  | Y |  | Y |  | Y
11.02 | TWDB Water Project Information Form (WRD-253d) |  |  |  |  | Y |  | Y |  | Y |  | Y |  | Y
11.03 | Permit(s) issued by the Groundwater Conservation District |  |  |  |  | Y |  | Y |  | Y |  | Y |  | Y
Y = Yes, please submit 8/20/2021 | [14 empty] | TWDB-200